## Slide 1
"Light Level Changes Throughout the Day“
Basic Formula:
Illuminance (lux) = Luminous Flux (in lumens)
Area (in m²)
Luminous Flux: It means how much light is coming out of a source — measured in lumens. More lumens = brighter light.
Area = It’s the surface where light is falling — for example, your room floor or table. Measured in square meters (m²).
Illuminance = It tells how much light is reaching a surface — measured in lux. More lux = brighter place or tells us how bright a place is.
Why area has taken:
The bigger the area, the less bright it feels because the same light spreads out more.
The smaller the area, the brighter it feels.

## Slide 2: Light Intensity from Morning to Night (Example)
Time | Light Intensity (Lumens) | Area | illuminance (Lux) = Lumens ÷ Area | Brightness Levels | Detected Lux (from LDR) | Action by System | Bulb Light Intensity (Lumens)
7:00 AM | 8000 | 8 | 8,000 ÷ 8 = 1000 | Bright | 700–1000 lux | Light off | 0
10:00 AM | 10,000 | 9 | 10,000 ÷ 9 = 1111 | Very Bright | >1000 lux | Light off | 0
1:00 PM | 12000 | 10 | 12,000 ÷ 10 = 1200 | Very Bright | >1000 lux | Light off | 0
4:00 PM | 6000 | 12 | 6,000 ÷ 12 = 500 | Medium | 300–700 lux | Light off | 0
5:00 PM | 3000 | 15 | 3,000 ÷ 15 = 200 | Dim | 100-300lux | Light on | 800lumens
6:00 PM | 1500 | 20 | 1,500 ÷ 20 = 75 | Low | 30–100 lux | Light on | ~1200 lumens
7:00 PM | 500 | 25 | 500 ÷ 25 = 20 | Very low | <30lux | Light on | ~1500–2000 lumens

## Slide 3
night | 0 | 30 | 0/30 | Dark | <30lux | Light on | ~1500–2000 lumens
The system uses an LDR sensor to detect natural light levels (lux).
When sunlight is bright, the bulb stays OFF to save electricity.
As it gets darker, the system turns ON the bulb with needed brightness.
This helps in reducing power bills and supports energy saving.

## Slide 4
THANK YOU